## Brief Introduction in microscopy before equipment instruction.

Skip the steps you already know.

- fluorescence: 3:11m (YT)– Molecular Probes Tutorial Series— Anatomy of Fluorescence Spectra

- microscope parts: Microscopy Australia MyScope(eModule): basics

- confocal microscopy: Microscopy Australia MyScope(eModule): basic  - follow up

- wide field vs spinning disk microscope: Olympus IXplore Spin Spinning Disk Microscope

- image analysis primer: iBiology primer

## What to think of when starting a microscopy project.

- What is the goal

  - pretty picture to illustrate findings in the lab

  - explorative researching to look at a problem at a cell/tissue context complexity level

  - measure objects or intensities (estimate nr of images needed when comparing groups)

    - what is the resolution needed to image the object of interest (lower=faster/more efficient)

    - in size (or change of it)

    - in time (how fast/frequent do you need to sample to measure an effect)

    - in sensitivity of a fluorescence signal: what is the dynamic range, i.e. background vs max expected signal. And  Signal-to-Noise-Ratio (SNR)

    - realize that morphometric analysis (setting to see shapes best) may require different imaging settings than reproducible intensity measurements (settings to measure intensity best)

- When quantifying, include testing the analysis part of the process when perform test runs to optimize labeling/microscope settings to reproducibly.

- To choose microscope type, magnifying lens, 2D/3D/4D, timing intervals, etc.(we can help choose which scope suits your appliance best at the CCI or elsewhere, to inspect yourself see: link)

## Prepare a sample

At the CCI we prefer that you have a prepared sample so we can help making an effective and productive imaging workflow during the instruction. Please consult us to help you making that first step as good as possible.